## Comparison
Feature | BTS | BM4 | Notes
🔌 1 · Circuit / Channel Control
Start circuit | ✅ | ✅ | Both support starting single or multiple circuits; BM4 also offers a start wizard with richer options
Stop circuit | ✅ | ✅ | Both support stopping one or many circuits simultaneously
Pause / Interrupt circuit | ✅ | ✅ | BTS calls it "Pause" (0xEE Q03); BM4 calls it "Interrupt" — functionally the same mid-test hold
Continue / Resume circuit | ✅ | ✅ | Both resume from pause/interrupt state
Reset circuit | ✅ | ✅ | BTS: single reset command (0xEE Q06 system reset); BM4: two modes — soft reset (cleans Dispo only) and hard reset (resets ComServer + controller task)
Deferred (scheduled) start | ✅ | ✅ | BM4 allows setting a future date/time for a circuit to start automatically; BTS has scheduled start
Multi-circuit select & control | ✅ | ✅ | Both support selecting and controlling multiple circuits in one action
Session naming scheme / tokens | ✅ | ✅ | BM4 supports dynamic session naming with tokens: <date>, <battery>, <program>, <operator>, <inc3>, etc. BTS generates session IDs automatically
Start from specific step number | ❌ | ✅ | BM4 allows choosing which program step to begin execution from; useful for resuming interrupted programs
100% current / percentage override at start | ❌ | ✅ | BM4 lets operators define the 100% current base at start time; percentage operators in the program are resolved against this value, BTS This will be consider into Phase II
📋 2 · Program Management
Step types: Charge CC/CV, Discharge, Rest | ✅ | ✅ | Core step types available in both; BM4 supports additional types (ramp functions, SYN synchronisation, formation schedules)
Cycle steps (loops) | ✅ | ✅ | Both support repeat/cycle blocks within a program
Program upload to hardware | ✅ | ✅ | BTS: binary upload via TCP 0xBB protocol (steps count then step data); BM4: via ComServer to hardware
Reusable procedures (sub-programs) | ✅ | ✅ | BM4 (BTS-600) supports named procedures that can be called from programs; BTS has no sub-program concept
GOTO | ✅ | ✅ | Both Supports GOTO Feature
counter / special label commands | ⚠️ | ✅ | BM4 supports counter settings, and special labels for complex branching logic in programs, considered in Phase II
Certified / locked programs | ✅ | ✅ | BM4 supports program certification — certified programs can only be modified by users with the Certificator right, BTS Use role-based access rights for the program editor.
Multiple hardware program formats | ⚠️ | ✅ | BTS supports one hardware family (custom BTS); BM4 supports BTS-600, MF-2000, BTS-500, PLT, and BAFOS — each with their own program editor
DBC / CAN file upload to hardware | ✅ | ⚠️ | BTS parses DBC CAN files and uploads channel mappings to hardware via TCP 0xBB Q07/Q08; BM4 have DBC support
Battery parameter–based nominal values (ACN, CNom) | ⚠️ | ✅ | BM4 supports ACN (current as fraction of nominal capacity), ACNX, CNom, and VNC operators in programs; BTS currently uses fixed values, and those operators can be considered in Phase II
🔋 3 · Battery Management
Battery CRUD (add / edit / delete) | ✅ | ✅ | Both provide full create/read/update/delete for battery records
Battery type / chemistry | ✅ | ✅ | Both support categorizing batteries by type; BTS tracks chemistry field
Nominal capacity, serial number | ✅ | ✅ | Core fields available in both
Bulk battery creation | ❌ | ✅ | BM4 allows creating up to 100 batteries at once with auto-incremented names; BTS requires individual entry
Cell count, gassing voltage, charge factor | ❌ | ✅ | BM4 stores extended battery parameters used in program calculations (VNC, CNom); BTS stores capacity/chemistry but not these electrochemical parameters, BTS : considered in Phase II
Push battery params to hardware | ✅ | ✅ | BTS: via TCP 0xAA Q05 Write Battery Params; BM4: via ComServer
Link battery to test session | ✅ | ✅ | Both associate a battery record with each test session
📡 4 · Real-Time Monitoring
Live voltage, current, temperature | ✅ | ✅ | Both display live electrical measurements continuously during a test
Live power, capacity, energy | ✅ | ✅ | BTS reports Accumulated, Charge, Discharge, and Step variants for capacity and energy
Circuit status display | ✅ | ✅ | Both use color-coded status (Idle, Charge, Discharge, Pause, Error, Offline); BTS maps 9 states via CircuitStatus enum
Error code display | ✅ | ✅ | BTS shows ErrorId byte + 17-bit SystemErrorId bitmask; BM4 shows ER1–ER10 error codes in status column
Digital I/O state display | ✅ | ❌ | BTS displays 3-byte IO status from the real-time UDP packet; BM4 does not expose digital I/O states in the UI
Live data push mechanism | ✅ | ⚠️ | BTS: Blazor SignalR push via UDP→InvokeAsync(StateHasChanged), <500ms latency; BM4: ComServer polling, Windows message-based
Multi-circuit overview dashboard | ✅ | ✅ | BTS: responsive grid dashboard per registered circuit; BM4: Floor Display (graphical layout) and Status View (grid)
QuickView hover popup | ✅ | ✅ | BM4: hovering over a circuit block shows a mini status popup with circuit name, status, battery type; auto-updated
QuattroView (4-panel detail) | ✅ | ✅ | BM4: double-clicking a circuit opens a 4-panel view (QuickView + graph + running program + registration data); BTS shows circuit data on a dedicated page
Step number & cycle counter | ✅ | ✅ | BTS: StepNumber, CycleNumber, TableStepNumber in the 79-byte real-time packet; BM4 displays in Status View
DBC / CAN signal live display | ✅ | ❌ | BTS decodes and displays live CAN bus signals mapped via DBC files alongside standard measurements
💾 5 · Data Storage & History
Session data persistence | ✅ | ✅ | BTS: per-session SQLite file at{date}/{SessionID}_{DeviceID}_{CircuitID}.db; BM4: SQL Server registration tables
High-frequency async write queue | ✅ | ⚠️ | BTS uses .NET Channel<T> to decouple UDP receive from disk write — lock-free, burst-tolerant; BM4 relies on ComServer buffering
Export to Excel | ✅ | ✅ | Both support exporting historical session data to Excel format
Filter & search historical data | ✅ | ✅ | Both provide filtering on historical registration data
Delete session data | ✅ | ✅ | Both allow removing old session records; BM4 recommends periodic deletion to manage SQL Server DB size
Database archive viewer | ✅ | ✅ | BM4: Uses unlicensed MS SQL (10 GB limit), requires archiving, includes Archive Viewer. BTS: Uses SQLite with separate session-based DB files, no archiving needed, flexible storage usage.
Automated DB backup scripts | ✅ | ✅ | BM4 ships with scheduled backup scripts for SQL Server; BTS relies on Docker volume backup (host-level, not built-in) Scripts are also available for scheduling.
DBC CAN signal recording | ✅ | ❌ | BTS records decoded CAN signals as opcode-keyed rows (0x1F–0xFA) in the session SQLite DB alongside standard measurements
📊 6 · Graphical / Chart Display
Historical data graphs | ✅ | ✅ | Both plot historical measurement data as graphs; BTS via DataViewer component, BM4 via Registration Data graphical display
Live charting during test | ✅ | ⚠️ | BTS has live charts updating in real-time on the dashboard; BM4 shows a live graph inside QuattroView only
EIS-Meter data graphs | ❌ | ✅ | BM4 has a dedicated graphical display for EIS impedance spectroscopy meter data; BTS does not support EIS hardware
Graph zoom controls | ✅ | ✅ | BM4 has extensive zoom (50%/75%/100%/200%/custom/fit) on all charts; BTS has chart interaction
Print graphs | ✅ | ✅ | BM4 supports printing registration data graphs with header/footer configuration; BTS has no print-specific graph export
DBC CAN signal graphs | ✅ | ❌ | BTS can plot decoded CAN bus signals from DBC files on the same timeline as electrical measurements
👤 7 · User & Access Management
Authentication | ✅ | ✅ | BTS: ASP.NET Identity (email + password, PBKDF2 hashed); BM4: internal BM credential store (username + password)
Role-based access control | ✅ | ✅ | BTS: 3 roles (Administrator, Operator, Viewer); BM4: Departments → Groups → Users with individual right toggles
Granular per-right permissions | ✅ | ✅ | BM4 allows toggling each individual right (Start, Stop, Add Program, Export, etc.) per user/group; BTS has coarser role-based access
Per-circuit access control | ✅ | ❌ | BTS UserCircuitAccess table restricts which circuits each user can operate; BM4 controls rights globally, not per circuit
Audit logs | ✅ | ✅ | BTS: AuditLogs DB table + Serilog rolling files; BM4: Event Viewer with Workstation, ComServer, and Service tabs
Inactivity auto-logout | ✅ | ✅ | BM4 supports configurable inactivity timeout per user/department (default 10 min);
In-app log viewer | ✅ | ✅ | BTS: log tail accessible via REST/api/Device/logsand in-app UI; BM4: Event Viewer with filter, sort, copy, and per-tab icons
Password encryption / hashing | ✅ | ⚠️ | BTS: PBKDF2 via ASP.NET Identity; BM4 uses internal BM credential store — hashing details not publicly documented
🔧 8 · Hardware Support
Supported hardware families | ⚠️ | ✅ | BTS is designed for a single custom hardware family; BM4 supports BTS-600, MF-2000 (Formation Supervisor III), BTS-500, PLT (Production Line Testing), and BAFOS
Automatic device discovery (broadcast) | ✅ | ❌ | BTS uses SADP (Simple Automatic Device Protocol): UDP broadcast on port 10002, devices reply on 10003 with full network config; BM4 requires manual ComServer configuration
Remote IP configuration push | ✅ | ❌ | BTS can push IP address, subnet, gateway, DNS, and server config (Q4/Q5) to a device over UDP broadcast; BM4 cannot remotely configure device network settings
Hardware calibration | ✅ | ⚠️ | BTS has a dedicated calibration protocol (0xA0) with 20 query types for current/voltage low point, high point, gain/offset, and verification; BM4 mentions calibration indirectly
External device support (temp chambers, scales) | ⚠️ | ✅ | BM4 integrates external instruments (temperature chambers, scales, EIS-Meter, RE-Series) into the same database; BTS is limited to its own hardware
Hardware profile save/restore | ❌ | ✅ | BM4 (BTS-600) supports saving and restoring circuit channel profiles; BTS has no profile concept
N concurrent devices | ✅ | ✅ | Both architectures support multiple simultaneous hardware devices
📶 9 · Communication Protocols
TCP command channel | ✅ | ✅ | BTS: persistent TCP on port 9999 with binary framing (StartByte + DeviceID + CircuitID + QueryID + Payload + CRC-16); BM4: Partyline via ComServer
UDP real-time data stream | ✅ | ⚠️ | BTS: hardware streams 79-byte packets to port 10000 continuously; BM4 uses ComServer polling, not direct UDP streaming
UDP high-frequency session store | ✅ | ❌ | BTS: dedicated UDP port 10001 for batched measurement record storage with opcode-tagged fields; BM4 stores through ComServer to SQL Server
UDP broadcast device discovery | ✅ | ❌ | BTS: SADP on ports 10002/10003; no equivalent in BM4
CRC-16/Modbus packet integrity | ✅ | ⚠️ | BTS appends CRC-16/Modbus (poly 0xA001, init 0xFFFF) to every packet; BM4 protocol details not publicly specified
DBC / CAN bus decoding | ✅ | ⚠️ | BTS has a full DBC parser (DecoderService) that maps CAN signals to opcode channels; BM4 only reports CAN bus errors (ER7/ER8) without signal decoding
OPC protocol support | ❌ | ✅ | BM4 supports OPC (ER10 reports OPC errors); BTS has no OPC integration
SignalR / WebSocket browser push | ✅ | ❌ | BTS pushes UI updates over ASP.NET Core SignalR (WebSocket); BM4 is a native desktop app with no WebSocket layer
🤖 10 · API & Integration
REST API | ✅ | ❌ | BTS exposes a JWT-secured REST API at/api/Device/*for all circuit operations, live data, programs, and batteries; BM4 has no REST API
MCP / AI assistant tools | ✅ | ❌ | BTS exposes an MCP server at/mcp(HTTP SSE) — AI assistants (Claude Desktop etc.) can start/stop tests, get live data, and send programs using natural language
Server-Sent Events (SSE) live stream | ✅ | ❌ | BTS:GET /api/Device/GetLiveSSE?deviceID=1&circuitID=1streams real-time JSON continuously to any HTTP client
Programmatic circuit control (external) | ✅ | ❌ | BTS REST API allows external systems, scripts, or AI agents to start, stop, pause, and query circuits; BM4 has no external control interface
OPC integration (external SCADA) | ❌ | ✅ | BM4 supports OPC for integration with SCADA / industrial control systems; BTS has no OPC layer
🗺️ 11 · Floor / Visual Layout
Graphical floor display (circuit map) | ⚠️ | ✅ | BM4 has a full graphical Floor Display with color-coded circuit blocks laid out to match the physical lab; BTS uses a dashboard grid without spatial layout
Floor designer (drag-and-drop layout) | ❌ | ✅ | BM4 Floor Designer allows adding/moving/resizing circuit blocks, adding walls/doors/text, running a layout wizard; BTS has no floor design capability
Color-coded circuit status blocks | ✅ | ✅ | Both use color to represent circuit state; BTS on dashboard cards, BM4 on floor blocks (offline=grey, charge=yellow, discharge=blue, error=red, etc.)
Floor zoom in/out | ❌ | ✅ | BM4 supports zoom from 50% to 200%+ on the floor display; BTS has no floor view to zoom
Save & recall floor layout configuration | ❌ | ✅ | BM4 saves floor display configurations to .flr files and recalls them on demand
Workspace manager | ❌ | ✅ | BM4 saves/recalls the entire application window layout (all open views, positions, filters) as a workspace file
Dispo (schedule / dispatch) list | ✅ | ✅ | BM4 has a Dispo List view showing scheduled and in-progress test assignments; BTS has scheduling
Sub-floor / hierarchical layout | ❌ | ✅ | BM4 supports defining sub-floors for organising large labs with many circuits across multiple rooms
Tabular Status View (all circuits grid) | ✅ | ✅ | BTS: dashboard table with sortable columns; BM4: dedicated Status View with moveable columns/rows, filters, cell formatting, and print preview
🖥️ 12 · Platform & Deployment
UI type | ✅ | ⚠️ | BTS runs in any modern browser over HTTP; BM4 is a Windows desktop application that must be installed on each workstation
Remote / multi-site access | ✅ | ⚠️ | BTS: accessible from any device on the LAN via browser; BM4: supports networked workstations but requires Windows WKS install or internet configuration
Operating system | ✅ | ❌ | BTS runs on Linux (Docker container) or any .NET 8 host; BM4 is Windows-only
Containerization (Docker) | ✅ | ❌ | BTS ships with a Dockerfile and docker-compose.yml; auto-restarts on crash via Docker restart policy
Database engine | ✅ | ⚠️ | BTS uses lightweight SQLite (main DB + per-session files); BM4 requires a licensed Microsoft SQL Server instance with periodic maintenance and compaction
Multi-user simultaneous access | ✅ | ✅ | Both support concurrent users; BTS handles it via Blazor SignalR sessions
CI/CD & automated deployment | ✅ | ❌ | BTS uses GitHub Actions to build, publish, and push Docker image on every commit to main; BM4 is manually installed