# Primary Control Board

System Requirement & Design Document

Project Name: Primary Control Board Battery Pack/Cell Tester

Version: V0.0

Prepared By: Rajan Singh

Company Name: Ador Digatron

Date: 29 July 2026

Document Status: Draft

Table of Contents

Revision History	6

Introduction	7

Project Overview	7

Purpose of the System	7

Scope of the Project	7

Purpose of This Document	8

System Overview	9

System Description	9

System Architecture	9

Communication Overview	10

Functional Overview	10

Initial System Block Diagram	11

Functional Requirements	12

General Functional Requirements	12

Ethernet Communication Requirements	12

CAN Communication Requirements	13

RS-485 Communication Requirements	14

Data Logging Requirements	14

Configuration Management Requirements	15

Fault & Protection Requirements	15

System Monitoring Requirements	16

Power Fail Recovery Requirements	16

GUI Functional Requirements	17

System Interfaces	17

Ethernet Interface	17

CAN Interface	18

RS-485 Interface	18

Non-Volatile Storage Interface	19

Debug & Service Interface	19

Internal Software Interfaces	20

Interface Summary Table	20

Software Architecture	21

Software Overview	21

Software Architecture Model	21

Main Software Modules	22

System State Machine	23

Communication Management	23

Data Logging & Storage	24

Fault Management	24

Configuration Management	25

System Monitoring	25

Future Scalability	26

Communication Architecture / Protocol Overview	26

Communication Overview	26

Ethernet Communication Architecture	27

CAN Communication Architecture	28

RS-485 Communication Architecture	28

Command & Response Structure	29

Heartbeat & Timeout Handling	29

Data Routing Concept	29

Future Communication Expansion	30

Data Storage & Configuration Management	30

Storage Overview	31

Configuration Data Storage	31

Runtime Data Logging	31

Fault & Event Logging	32

Power Fail Data Protection	32

Data Retention Requirements	33

Storage Reliability Requirements	33

Future Storage Expansion	33

System Limitations & Constraints	34

General System Constraints	34

Hardware Constraints	34

Firmware Constraints	35

Communication Constraints	35

Storage Constraints	36

Timing Constraints	36

Environmental Constraints	37

Scalability Constraints	37

Risk Analysis & Mitigation	37

Risk Overview	38

Hardware Dependency Risks	38

Firmware Development Risks	38

Communication Risks	39

Integration Risks	39

Data Storage Risks	40

Schedule Risks	40

Risk Mitigation Strategy	41

Development Plan & Project Timeline	41

Development Overview	42

Project Phases	42

Milestone Plan	44

Deliverables	45

Dependency Considerations	46

Progress Tracking Strategy	46

Testing & Validation Strategy	47

Testing Overview	47

Unit Testing	47

Communication Testing	48

Integration Testing	48

Functional Validation	49

Fault & Protection Testing	49

Reliability & Stress Testing	50

Data Storage Validation	50

GUI Validation	50

Final System Validation	51

Future Scope & Expansion Possibilities	51

Future Expansion Overview	52

Communication Expansion	52

Advanced Monitoring Features	52

Data Logging Expansion	53

Remote Monitoring Possibilities	53

GUI Expansion	54

System Scalability	54

Advanced Reliability Features	55

Conclusion	55

References	56

Appendix	56

# Revision History

| Version | Date | Author | Description |
| --- | --- | --- | --- |
| V0.0 | 29-July-2026 | Rajan Singh | Initial draft |

# Introduction

## Project Overview

This project involves the development of a Primary Control Board system for a Battery Pack Tester application. The system is intended to act as the central supervisory controller responsible for communication, monitoring, control, configuration management, and data handling within the battery testing platform.

The Primary Control Board will be developed using the Q-Flex platform and will communicate with multiple subsystems including power converter boards, sensor boards, data logger modules, and PC-based GUI applications.

The system will support multiple industrial communication interfaces including Ethernet, CAN, and RS-485 for real-time data exchange and control operations.

## Purpose of the System

The purpose of the Primary Control Board is to provide centralized control and monitoring for the battery testing system. The controller will manage communication between various hardware modules, process operational commands from the GUI, monitor system status, handle fault conditions, and store configuration and runtime data.

The system is intended to support reliable and scalable battery testing operations with future expandability for additional communication interfaces, data logging, and advanced monitoring features.

## Scope of the Project

The scope of this project includes development of embedded software architecture, communication interfaces, data handling mechanisms, configuration management, fault monitoring, and GUI communication support for the Primary Control Board.

The project also includes integration support with:

- Power converter control boards

- Battery management-related interfaces

- Sensor monitoring boards

- PC GUI application

- Data logging systems

The development scope includes firmware/application software design, communication protocol integration, data storage handling, and system reliability implementation.

## Purpose of This Document

This document defines the system requirements, architecture, communication structure, software design approach, implementation strategy, limitations, risks, and development plan for the Primary Control Board project.

The document is intended to serve as a technical reference for project planning, development, integration, testing, and future maintenance activities.

# System Overview

## System Description

The Battery Pack Tester system consists of multiple hardware and software modules working together to perform battery testing, monitoring, communication, and data management operations.

The Primary Control Board acts as the central supervisory controller of the system. It communicates with external PC-based GUI applications, power converter control boards, sensor monitoring boards, and data logging modules through various communication interfaces.

The system is designed to support real-time monitoring, command processing, fault handling, configuration management, and operational data logging for battery testing applications.

## System Architecture

The overall system architecture is divided into the following major subsystems:

1. PC GUI Application

- User interface for monitoring and control

- Parameter configuration

- Data visualization and logging

2. Primary Control Board

- Central supervisory controller

- Communication management

- State machine execution

- Data logging and storage

- Fault management

3. Power Converter Control Boards

- DC-DC converter control

- Current and voltage regulation

- Local protection handling

4. Sensor and Monitoring Boards

- Temperature monitoring

- Cell voltage monitoring

- Auxiliary sensor acquisition

5. Data Storage/Logging System

- Configuration storage

- Runtime event logging

- Fault history management

## Communication Overview

The system uses multiple communication interfaces for interaction between different hardware modules.

1. Ethernet Communication

- Communication between PC GUI and Primary Control Board

- Used for monitoring, configuration, and command transfer

2. CAN Communication

- Communication between Primary Control Board, Power Converter Boards and BMS boards

- Used for real-time control and feedback data exchange

3. RS-485 Communication

- Communication between Primary Control Board and sensor monitoring boards and HMI display board

- Used for sensor data acquisition and auxiliary communication

4. EEPROM/Flash Storage

- Used for configuration storage and runtime data retention

## Functional Overview

During system operation, the PC GUI communicates with the Primary Control Board through Ethernet communication. User commands such as start, stop, parameter configuration steps, and operational settings are processed by the Primary Control Board.

The Primary Control Board exchanges real-time control and monitoring data with Power Converter Boards through CAN communication. Sensor and auxiliary monitoring data are collected through RS-485 communication interfaces.

The Primary Control Board manages system-level decision making, fault monitoring, communication supervision, configuration handling, and operational data logging.

Critical configuration data and runtime information are stored in non-volatile memory to support system recovery and operational continuity.

## Initial System Block Diagram

# Functional Requirements

## General Functional Requirements

The Primary Control Board shall operate as the central supervisory controller for the Battery Pack Tester system.

The system shall support communication, monitoring, control, configuration management, fault handling, and operational data management functions.

The Primary Control Board shall support simultaneous communication with multiple external subsystems through Ethernet, CAN, and RS-485 communication interfaces.

The system shall support modular and scalable architecture for future expansion.

## Ethernet Communication Requirements

The Primary Control Board shall communicate with the PC GUI application through Ethernet communication.

The Ethernet interface shall support:

- System monitoring

- Command transfer

- Configuration updates

- Real-time status feedback

- Data logging transfer

The system shall support reliable communication handling including communication timeout detection and reconnection handling.

The Primary Control Board shall process commands received from the GUI application including:

- Start/Stop commands

- Operational parameter configuration

- Mode selection

- Fault reset commands

## CAN Communication Requirements

The Primary Control Board shall communicate with Power Converter Control Boards through CAN communication.

The CAN communication interface shall support:

- Real-time command transmission

- Voltage and current feedback acquisition

- Converter status monitoring

- Fault information exchange

- Heartbeat monitoring

The system shall also support:

- Temperature monitoring

- Cell voltage monitoring

- Auxiliary sensor acquisition

- External monitoring module communication

The system shall support communication timeout detection and fault handling for CAN communication failure conditions.

The CAN communication architecture shall support future scalability for multiple converter channels and additional CAN devices.

## RS-485 Communication Requirements

The Primary Control Board shall communicate with sensor and monitoring boards through RS-485 communication.

The RS-485 interface shall support:

- Temperature monitoring

- Cell voltage monitoring

- Auxiliary sensor acquisition

- External monitoring module communication

- HMI Display (Local at Cabinate)

The system shall support communication polling, timeout handling, and data integrity verification for RS-485 communication.

## Data Logging Requirements

The system shall support operational data logging and event recording functionality.

The data logging system shall support:

- Runtime parameter logging

- Fault history logging

- Registration data

- Event logging

- Operational status logging

- 1mSec with CAN cards

The system shall support configurable logging intervals and log storage management.

Logged data shall be accessible through the PC GUI application. (Live + registration data)

## Configuration Management Requirements

The system shall support non-volatile storage of configuration parameters.

Configuration parameters may include:

- Communication settings

- Calibration data

- System configuration

- Operational limits

- User-defined parameters

Configuration data shall be retained during system power loss and reboot conditions.

## Fault & Protection Requirements

The system shall support fault monitoring and protection handling mechanisms.

The Primary Control Board shall monitor:

- Communication failures

- Sensor failures

- System timeout conditions

- Invalid operational states

- External fault signals (DIDOs)

The system shall support fault reporting, fault logging, and safe-state transition handling.

Critical fault conditions shall trigger immediate protective action and user notification.

## System Monitoring Requirements

The system shall continuously monitor communication status, operational status, and subsystem health conditions.

The Primary Control Board shall support:

- Heartbeat monitoring

- Communication status monitoring

- System status indication

- Runtime diagnostics

The system shall support diagnostic information reporting to the GUI application.

## Power Fail Recovery Requirements

The system shall support safe handling during unexpected power loss conditions.

Critical configuration and operational data shall be protected against corruption during power interruption.

The system shall support controlled shutdown handling and recovery mechanisms after system restart.

## GUI Functional Requirements

The GUI application shall support:

- Real-time monitoring

- System configuration

- Operational control

- Fault visualization

- Data visualization

- Historical log access

The GUI application shall support user interaction for operational control and system diagnostics.

# System Interfaces

## Ethernet Interface

The Ethernet interface shall be used for communication between the PC GUI application and the Primary Control Board.

The Ethernet communication interface shall support:

- Operational command transfer

- Real-time monitoring

- Configuration updates

- Status reporting

- Data logging access

The Ethernet interface shall support reliable bidirectional communication and communication recovery handling.

The communication architecture shall support future expansion for additional GUI or remote monitoring features.

## CAN Interface

The CAN interface shall be used for communication between the Primary Control Board and Power Converter Control Boards.

The CAN communication interface shall support:

- Real-time command transmission

- Converter status monitoring

- Voltage and current feedback acquisition

- Fault information exchange

- Heartbeat monitoring

The Primary Control Board shall operate as the supervisory communication controller for CAN-based subsystem communication.

The CAN interface shall support scalable communication architecture for future multi-device expansion.

## RS-485 Interface

The RS-485 communication interface shall be used for communication between the Primary Control Board and sensor monitoring or auxiliary communication boards. (Datalogger, Temp Chamber, Monitor)

The RS-485 interface shall support:

- Sensor data acquisition

- Temperature monitoring

- Cell voltage monitoring

- Auxiliary system communication

The communication interface shall support polling-based communication and communication timeout handling.

The RS-485 architecture shall support future integration of additional monitoring modules.

## Non-Volatile Storage Interface

The system shall support non-volatile data storage for configuration parameters, operational settings, calibration data and runtime information.

The storage interface may utilize EEPROM, Flash memory, or filesystem-based storage mechanisms depending on system architecture requirements.

The non-volatile storage system shall support:

- Configuration parameter retention

- Calibration data storage

- Fault history logging

- Runtime event storage

The storage system shall support protection against data corruption during unexpected power interruption conditions.

## Debug & Service Interface

The system shall support debug and service interfaces for firmware development, system diagnostics, and maintenance activities.

The debug interface may include:

- UART debug console

- SSH access

- Service communication interface

- Firmware update support

The debug interface shall support system monitoring and troubleshooting during development and maintenance operations.

## Internal Software Interfaces

The system software architecture shall support modular communication between internal software components.

Internal software modules shall support interaction for:

- Command processing

- Fault handling

- Data logging

- Configuration management

- Communication management

- System state management

The software architecture shall support scalable and maintainable module interaction mechanisms.

## Interface Summary Table

| Interface | Connected Modules | Purpose |
| --- | --- | --- |
| Ethernet | PC GUI ↔ Primary Board | Monitoring & control |
| CAN | Primary Board ↔ Power Boards | Real-time converter control |
| RS-485 | Primary Board ↔ Sensor Boards | Sensor data acquisition |
| EEPROM/Flash | Primary Board ↔ Storage | Configuration & logging |
| UART/SSH | Developer ↔ Primary Board | Debug & maintenance |

# Software Architecture

This section defines:

- how firmware/software will be organized

- major software modules

- task responsibilities

- system behavior

- software interaction flow

## Software Overview

The Primary Control Board software architecture is designed as a modular and scalable embedded application framework responsible for communication management, system supervision, operational control, fault monitoring, and data handling.

The software system shall support simultaneous communication with multiple external subsystems through Ethernet, CAN, and RS-485 communication interfaces.

The architecture is intended to support maintainability, future scalability, modular integration, and reliable system operation.

## Software Architecture Model

The software architecture is organized into multiple functional modules responsible for communication handling, system management, data logging, configuration handling, and fault supervision.

The software framework shall support independent functional modules with controlled interaction between subsystems.

The architecture shall support future expansion for additional communication interfaces, monitoring functions, and operational features.

## Main Software Modules

The Primary Control Board software architecture consists of the following major functional modules:

1. System Manager

- Overall system supervision

- Operational coordination

- Startup and shutdown management

2. Communication Manager

- Ethernet communication handling

- CAN communication handling

- RS-485 communication handling

3. State Machine Manager

- System operational state handling

- Mode transition management

- Operational sequence control

4. Fault Manager

- Fault detection

- Fault handling

- Fault reporting

- Fault logging

5. Data Logger

- Runtime logging

- Event logging

- Fault history storage

6. Configuration Manager

- Configuration storage

- Parameter management

- System settings handling

7. System Monitoring Manager

- Heartbeat monitoring

- Communication supervision

- Runtime diagnostics

## System State Machine

The software architecture shall support a system-level operational state machine for controlling overall system behavior.

The primary operational states may include:

- System Initialization

- Idle State

- Ready State

- Active Operation State

- Fault State

- Emergency Shutdown State

The system shall support controlled state transitions based on operational conditions, communication status, and fault conditions.

## Communication Management

The Communication Manager shall be responsible for handling all external communication interfaces within the system.

The communication management system shall support:

- Ethernet communication handling

- CAN communication handling

- RS-485 communication handling

- Communication timeout monitoring

- Communication recovery handling

- Message routing and processing

The communication architecture shall support simultaneous multi-interface operation.

## Data Logging & Storage

The software architecture shall support runtime data logging and non-volatile data storage functionality.

The data logging system shall support:

- Runtime operational logging

- Fault event logging

- Communication event logging

- System status logging

The storage management system shall support configuration retention and protection against data corruption during unexpected power interruption conditions.

## Fault Management

The software architecture shall support centralized fault monitoring and fault handling mechanisms.

The Fault Manager shall support:

- Communication fault monitoring

- Sensor fault monitoring

- Operational fault detection

- System timeout monitoring

- Fault reporting

- Fault logging

- Safe-state transition handling

Critical fault conditions shall trigger immediate protective actions and operational shutdown handling when required.

## Configuration Management

The Configuration Manager shall support handling and storage of system configuration parameters.

The configuration management system shall support:

- Communication configuration

- Calibration parameter storage

- Operational parameter storage

- User configuration handling

- Parameter validation

Configuration data shall be retained during power cycling and system restart conditions.

## System Monitoring

The software architecture shall support continuous system monitoring and diagnostic functionality.

The monitoring system shall support:

- Heartbeat monitoring

- Communication health monitoring

- Runtime diagnostics

- Resource monitoring

- Operational status reporting

Diagnostic information shall be accessible through the GUI communication interface.

## Future Scalability

The software architecture is intended to support future expansion and integration of additional features and hardware modules.

The architecture shall support:

- Additional communication interfaces

- Additional monitoring modules

- Future protocol integration

- Advanced data logging functionality

- Remote monitoring support

- Extended operational control features

# Communication Architecture / Protocol Overview

This section defines:

- How communication works

- communication flow

- communication responsibility

- command/response behavior

- timeout concept

- heartbeat concept

- message routing

## Communication Overview

The Primary Control Board shall support multiple communication interfaces for interaction with external systems and subsystem controllers.

The communication architecture is designed to support:

- Real-time control communication

- Monitoring data acquisition

- Command and configuration transfer

- Fault reporting

- Operational data exchange

The system communication architecture shall support simultaneous operation of Ethernet, CAN, and RS-485 communication interfaces.

## Ethernet Communication Architecture

The Ethernet communication interface shall be used for communication between the PC GUI application and the Primary Control Board.

The Ethernet communication system shall support:

- Command transmission

- Real-time monitoring

- Configuration management

- Data logging access

- Fault status reporting

The communication architecture shall support bidirectional communication between the GUI application and the Primary Control Board.

The Primary Control Board shall process commands received from the GUI application and provide operational feedback data to the GUI interface.

## CAN Communication Architecture

The CAN communication architecture shall be used for communication between the Primary Control Board and Power Converter Control Boards.

The CAN communication system shall support:

- Real-time operational command transfer

- Voltage and current feedback acquisition

- Converter status monitoring

- Fault information exchange

- Heartbeat communication

The Primary Control Board shall operate as the supervisory communication controller within the CAN communication network.

The communication system shall support communication timeout detection and fault handling for CAN communication failures.

## RS-485 Communication Architecture

The RS-485 communication architecture shall be used for communication between the Primary Control Board and sensor monitoring or auxiliary subsystem boards.

The RS-485 communication system shall support:

- Sensor data acquisition

- Temperature monitoring

- Cell voltage monitoring

- Auxiliary module communication

The communication architecture shall support polling-based communication and communication timeout handling mechanisms.

## Command & Response Structure

The communication architecture shall support command and response-based communication mechanisms between subsystem controllers.

The communication system shall support:

- Command transmission

- Acknowledgement handling

- Status feedback

- Fault reporting

- Data synchronization

The communication framework shall support reliable message handling and communication integrity verification.

## Heartbeat & Timeout Handling

The communication architecture shall support heartbeat monitoring and communication timeout detection mechanisms.

Subsystem communication interfaces shall periodically exchange communication status information to verify communication health.

The system shall detect communication timeout conditions and trigger fault handling mechanisms when communication loss is detected.

The system shall support communication recovery handling after communication restoration.

## Data Routing Concept

The Primary Control Board shall support internal routing and processing of communication data between subsystem interfaces.

The communication management system shall support:

- Command routing

- Status data forwarding

- Fault message forwarding

- Data synchronization

- Interface-level data processing

The Primary Control Board shall operate as the central communication management controller within the system architecture.

## Future Communication Expansion

The communication architecture is intended to support future integration of additional communication interfaces and subsystem expansion.

The architecture shall support:

- Additional CAN devices

- Additional monitoring modules

- Remote communication support

- Extended logging interfaces

- Future protocol integration

# Data Storage & Configuration Management

This section will define:

- EEPROM usage

- Flash usage

- configuration storage

- logging storage

- power-fail handling

- data retention strategy

## Storage Overview

The Primary Control Board shall support non-volatile storage functionality for configuration management, operational data logging, and fault/event history retention.

The storage architecture is intended to support reliable retention of critical system information during system restart and power interruption conditions.

The system may utilize EEPROM, Flash memory, or filesystem-based storage mechanisms depending on final hardware and software architecture requirements.

## Configuration Data Storage

The system shall support storage of configuration parameters required for system operation.

Configuration data may include:

- Communication settings

- Calibration parameters

- Operational limits

- System configuration settings

- User-defined parameters

Configuration parameters shall be retained during power cycling and system restart conditions.

The configuration management system shall support parameter update and retrieval functionality.

## Runtime Data Logging

The system shall support runtime operational data logging functionality.

The data logging system may support:

- Voltage and current logging

- Temperature logging

- Communication status logging

- System operational status logging

- Runtime event logging

The system shall support configurable logging intervals and storage management functionality.

## Fault & Event Logging

The system shall support fault and event history logging for system diagnostics and maintenance purposes.

The fault logging system may support:

- Communication fault logging

- Sensor fault logging

- Operational fault logging

- System warning logging

- Critical shutdown event logging

Logged fault information shall support future diagnostic and troubleshooting activities.

## Power Fail Data Protection

The system shall support protection of critical data during unexpected power interruption conditions.

Critical operational and configuration data shall be protected against corruption during power failure events.

The software architecture shall support controlled data synchronization and recovery handling after system restart conditions.

The system may support safe shutdown or emergency data save mechanisms depending on hardware capabilities.

## Data Retention Requirements

The system shall support long-term retention of critical configuration and operational information.

The following data categories shall support non-volatile retention:

- System configuration

- Calibration parameters

- Fault history

- Critical operational settings

Temporary runtime data may be maintained in volatile system memory during normal operation.

## Storage Reliability Requirements

The storage architecture shall support reliable data handling and protection against invalid or corrupted storage conditions.

The storage management system shall support:

- Data validation

- Configuration integrity verification

- Fault-tolerant storage handling

- Recovery handling for invalid configuration conditions

The system shall support safe recovery mechanisms after abnormal shutdown conditions.

## Future Storage Expansion

The storage architecture is intended to support future expansion for additional logging, configuration management, and diagnostic storage functionality.

The system architecture shall support scalability for:

- Extended data logging

- Advanced diagnostic logging

- Historical operational data storage

- Remote log access functionality

# System Limitations & Constraints

This section is extremely valuable because it defines:

- system boundaries

- operational limits

- expected constraints

- practical engineering limitations

## General System Constraints

The Primary Control Board system is designed as a supervisory embedded control and communication platform for battery testing applications.

System performance and operational capability may depend on hardware resources, communication load, subsystem response behavior, and operational environment conditions.

The system architecture is intended for industrial and development-oriented battery testing applications with scalable future expansion capability.

## Hardware Constraints

System functionality and performance may depend on hardware capabilities of the selected SBC platform and external subsystem hardware.

Hardware-related limitations may include:

- Available communication interfaces

- Processor performance limitations

- Memory availability

- Storage capacity

- External interface bandwidth

- Power supply limitations

System performance may also be affected by communication signal quality, external hardware response timing, and subsystem stability.

## Firmware Constraints

Firmware performance and functionality may depend on system resource availability, communication load, multitasking behavior, and external subsystem interaction.

Firmware-related limitations may include:

- Communication processing load

- Logging throughput limitations

- Runtime memory usage

- Multi-interface communication overhead

- Real-time processing limitations

The software architecture is intended to support modular scalability while maintaining system stability and maintainability.

## Communication Constraints

System communication performance may depend on communication bus loading, subsystem response timing, communication signal integrity, and network stability.

Communication-related limitations may include:

- CAN bus loading limitations

- RS-485 communication timing limitations

- Ethernet network dependency

- Communication timeout conditions

- External subsystem communication delays

Communication reliability may be affected by electrical noise, cable quality, grounding conditions, and subsystem synchronization behavior.

## Storage Constraints

Storage performance and operational capability may depend on available non-volatile memory capacity and storage architecture.

Storage-related limitations may include:

- Storage capacity limitations

- EEPROM/Flash write endurance limitations

- Logging storage limitations

- Data retention dependency on storage hardware quality

Long-duration high-frequency logging may require additional storage optimization mechanisms.

## Timing Constraints

System response timing may depend on communication latency, subsystem response timing, operating system scheduling behavior, and communication processing load.

Timing-related constraints may include:

- Communication latency

- Polling interval limitations

- Logging interval limitations

- External subsystem response timing

- System startup timing

Real-time operational performance may vary depending on simultaneous communication and processing activity.

## Environmental Constraints

System reliability and operational performance may depend on environmental operating conditions.

Environmental constraints may include:

- Operating temperature limitations

- Electrical noise conditions

- Grounding quality

- Power supply stability

- Industrial EMI/EMC conditions

Improper environmental conditions may affect communication reliability and system stability.

## Scalability Constraints

The system architecture is intended to support future scalability; however, expansion capability may depend on hardware resources, communication bandwidth, and software architecture limitations.

Future scalability constraints may include:

- Maximum supported subsystem count

- Communication bandwidth limitations

- Storage capacity limitations

- Processing resource limitations

Additional system expansion may require hardware and software architecture optimization.

# Risk Analysis & Mitigation

This is one of the most important sections for:

- management

- planning

- scheduling

- tracking

## Risk Overview

The Primary Control Board project involves multiple hardware and software subsystems including Ethernet communication, CAN communication, RS-485 communication, data storage management, GUI interaction, and multi-board integration.

Project execution may involve technical, integration, communication, and hardware dependency risks which may affect development complexity, debugging effort, and project schedule.

## Hardware Dependency Risks

Firmware development and system validation activities are dependent on hardware availability, hardware stability, and communication signal quality.

Hardware-related risks may include:

- Development board delivery delay

- Hardware interface instability

- Communication signal integrity issues

- Power supply instability

- Noise-related communication issues

- External subsystem hardware readiness

Hardware-related debugging and validation activities may increase development and integration effort.

## Firmware Development Risks

The project involves Embedded Linux-based application development, multi-interface communication management, and multi-threaded software architecture implementation.

Firmware development risks may include:

- Embedded Linux learning curve

- Multi-threaded application complexity

- Communication synchronization issues

- Runtime debugging complexity

- Resource management challenges

- System integration complexity

Firmware architecture modifications may be required during integration and validation phases.

## Communication Risks

The system architecture depends heavily on reliable communication between multiple subsystem controllers.

Communication-related risks may include:

- CAN communication timeout conditions

- RS-485 communication instability

- Ethernet network dependency

- Communication synchronization issues

- Communication bus loading

- Packet loss or delayed communication

Electrical noise, grounding quality, and subsystem timing behavior may affect communication reliability.

## Integration Risks

System integration activities involve interaction between multiple hardware and software subsystems.

Integration-related risks may include:

- Protocol mismatch between subsystems

- Timing synchronization issues

- Interface compatibility issues

- Communication load management

- Fault handling coordination

Integration debugging effort may increase during multi-board validation activities.

## Data Storage Risks

The project involves non-volatile data storage for configuration management and runtime information handling.

Storage-related risks may include:

- Data corruption during power failure

- EEPROM/Flash endurance limitations

- Logging overflow conditions

- Configuration corruption

- Recovery handling complexity

Additional validation may be required for reliable storage handling implementation.

## Schedule Risks

Project schedule and milestone completion may be affected by hardware availability, integration complexity, debugging effort, and communication validation activities.

Schedule-related risks may include:

- Hardware delivery delays

- Additional firmware debugging effort

- Integration validation delays

- Protocol modification requirements

- GUI integration dependency

Complex system integration activities may increase project execution duration.

## Risk Mitigation Strategy

The project execution strategy includes phased development, modular architecture design, and incremental integration to reduce technical and schedule-related risks.

Risk mitigation activities may include:

- Early architecture definition

- Modular software development

- Incremental subsystem integration

- Communication validation during development

- Version control and documentation management

- Continuous testing and debugging activities

Initial project development shall focus on establishing stable communication and core system functionality before advanced feature integration.

# Development Plan & Project Timeline

This section explains:

- how the project will be executed

- development phases

- milestones

- expected deliverables

- schedule estimation

## Development Overview

The Primary Control Board project shall be executed using a phased and modular development approach.

Project execution activities shall include:

- System architecture definition

- Development environment setup

- Communication interface implementation

- Software framework development

- Multi-board integration

- GUI integration

- Data logging implementation

- Reliability validation

- System testing and optimization

The development strategy is intended to support incremental validation and risk reduction during implementation and integration activities.

## Project Phases

The project development plan is divided into the following major phases:

Phase 1 – Requirement & Architecture Definition

- Requirement documentation

- System architecture planning

- Interface definition

- Communication architecture planning

Phase 2 – Development Environment Setup

- SBC bring-up

- Development tool setup

- Linux environment preparation

- Initial communication validation

Phase 3 – Communication Interface Development

- Ethernet communication implementation

- CAN communication implementation

- RS-485 communication implementation

Phase 4 – Core Software Framework Development

- State machine implementation

- Communication manager development

- Fault management implementation

- Configuration management implementation

Phase 5 – GUI Integration & Data Logging

- GUI communication integration

- Runtime logging implementation

- Data storage handling

Phase 6 – System Integration & Validation

- Multi-board integration

- Fault handling validation

- Long-duration testing

- Reliability verification

Phase 7 – Final Optimization & Documentation

- Performance optimization

- Documentation updates

- Final release preparation

## Milestone Plan

The project execution plan includes milestone-based development tracking.

Major project milestones may include:

Milestone 1

- Requirement and architecture documentation completed

Milestone 2

- SBC bring-up and Linux environment operational

Milestone 3

- Ethernet communication operational

Milestone 4

- CAN communication operational

Milestone 5

- RS-485 communication operational

Milestone 6

- Core software framework operational

Milestone 7

- GUI integration completed

Milestone 8

- Data logging and storage handling completed

Milestone 9

- Full system integration completed

Milestone 10

- Reliability validation and final optimization completed

## Deliverables

The project development activities are expected to generate the following deliverables:

- Requirement and architecture documentation

- Communication architecture documentation

- Embedded application software

- Communication interface implementation

- GUI communication support

- Data logging functionality

- Fault management implementation

- Integration test results

- Validation reports

- Final firmware release package

## Dependency Considerations

Project execution and milestone completion may depend on availability and readiness of external hardware and subsystem interfaces.

Project dependencies may include:

- SBC hardware availability

- Power board hardware readiness

- Sensor board readiness

- Communication interface validation

- GUI development readiness

- External subsystem integration support

Changes in subsystem requirements or hardware architecture may affect project schedule and implementation effort.

## Progress Tracking Strategy

Project progress shall be monitored using milestone-based and task-based tracking mechanisms.

Development activities shall be tracked using:

- Weekly progress review

- Milestone completion tracking

- Communication validation checkpoints

- Integration testing status

- Documentation updates

Incremental subsystem validation shall be performed during development to reduce integration and debugging risks.

# Testing & Validation Strategy

This section defines:

- how the system will be tested

- what will be validated

- how reliability will be verified

- how communication/integration will be checked

## Testing Overview

The Primary Control Board project shall include structured testing and validation activities throughout development and integration phases.

Testing activities shall focus on:

- Communication validation

- Functional verification

- Integration testing

- Fault handling verification

- Reliability validation

- Data storage validation

Incremental subsystem testing shall be performed during development to reduce integration complexity and debugging effort.

## Unit Testing

Individual software modules shall be tested independently during development activities.

Unit testing activities may include:

- Communication module testing

- State machine validation

- Fault handling validation

- Configuration management testing

- Data logging verification

Unit-level testing shall support early detection of software implementation issues.

## Communication Testing

Communication testing shall be performed for Ethernet, CAN, and RS-485 interfaces.

Communication validation activities may include:

- Message transmission verification

- Message reception verification

- Communication timeout validation

- Heartbeat monitoring validation

- Multi-device communication testing

- Communication recovery validation

Communication testing shall verify reliable subsystem interaction under normal and abnormal operating conditions.

## Integration Testing

System integration testing shall be performed after subsystem-level validation activities.

Integration testing activities may include:

- GUI integration testing

- Power board integration testing

- Sensor board integration testing

- Multi-interface communication validation

- System synchronization testing

Integration activities shall verify coordinated operation between hardware and software subsystems.

## Functional Validation

Functional validation activities shall verify that system behavior satisfies defined functional requirements.

Functional validation may include:

- Operational command validation

- Monitoring functionality verification

- Logging functionality verification

- Configuration handling verification

- State machine validation

Functional testing shall verify correct system operation under expected operational conditions.

## Fault & Protection Testing

Fault handling and protection validation shall be performed to verify safe system operation during abnormal conditions.

Fault testing activities may include:

- Communication timeout testing

- Sensor fault simulation

- Invalid command handling

- System recovery validation

- Emergency shutdown verification

Critical fault handling shall be verified for safe operational behavior.

## Reliability & Stress Testing

Reliability and stress testing activities shall be performed to evaluate long-duration system stability and operational robustness.

Reliability testing may include:

- Continuous runtime operation

- Communication stress testing

- Repeated startup/shutdown testing

- Long-duration logging validation

- Communication load testing

System stability and communication reliability shall be evaluated during extended operational testing.

## Data Storage Validation

Data storage validation activities shall verify reliable operation of configuration management and logging functionality.

Storage validation activities may include:

- Configuration retention testing

- Power failure recovery testing

- Logging validation

- Data integrity verification

- Storage corruption recovery validation

The system shall verify reliable storage operation during abnormal shutdown conditions.

## GUI Validation

GUI communication and operational interaction testing shall be performed to validate user interface functionality.

GUI validation activities may include:

- Real-time monitoring verification

- Command handling verification

- Configuration update validation

- Fault display verification

- Logging access validation

GUI interaction testing shall verify reliable communication between the PC application and the Primary Control Board.

## Final System Validation

Final system validation activities shall be performed after completion of subsystem integration and functional testing.

Final validation activities may include:

- End-to-end operational testing

- Full communication validation

- Multi-board coordination verification

- Long-duration operational testing

- Final fault handling validation

Final system validation shall verify readiness for deployment and operational use.

# Future Scope & Expansion Possibilities

This section is useful because it shows:

- long-term thinking

- scalability

- upgrade capability

- architectural flexibility

## Future Expansion Overview

The Primary Control Board architecture is intended to support future scalability and integration of additional system functionality.

The software and communication architecture are designed using a modular approach to support future feature enhancement, subsystem integration, and communication expansion.

## Communication Expansion

The communication architecture may support future integration of additional industrial communication interfaces and protocols.

Future communication expansion possibilities may include:

- Additional CAN devices

- Additional RS-485 monitoring modules

- Modbus protocol integration

- MQTT communication support

- OPC-UA integration

- Remote Ethernet communication support

The communication architecture is intended to support scalable subsystem integration.

## Advanced Monitoring Features

Future system enhancement may include advanced monitoring and diagnostic capabilities.

Potential future monitoring features may include:

- Advanced system diagnostics

- Predictive fault monitoring

- Communication performance monitoring

- Advanced sensor analysis

- Historical operational trend analysis

Future monitoring expansion may support improved system reliability and maintenance capability.

## Data Logging Expansion

The storage architecture may support future expansion for advanced data logging and operational analysis functionality.

Future data logging enhancements may include:

- Extended historical data storage

- Advanced event logging

- Long-duration operational recording

- Exportable log formats

- Automated report generation

Additional storage optimization mechanisms may be integrated for large-scale logging requirements.

## Remote Monitoring Possibilities

Future system architecture may support remote monitoring and remote operational access functionality.

Potential remote features may include:

- Remote monitoring dashboard

- Remote diagnostics access

- Remote firmware update support

- Cloud-based operational monitoring

- Remote event notification

Remote monitoring functionality may require additional security and network management mechanisms.

## GUI Expansion

The GUI architecture may support future enhancement for advanced visualization and user interaction functionality.

Future GUI enhancements may include:

- Advanced graphical dashboards

- Real-time waveform visualization

- Historical data analysis

- Multi-system monitoring

- User access management

- Automated reporting functionality

## System Scalability

The system architecture is intended to support scalability for future subsystem expansion and increased operational complexity.

Future scalability may include:

- Additional converter channels

- Additional monitoring nodes

- Multi-device synchronization

- Distributed subsystem architecture

- Expanded communication infrastructure

Scalability capability may depend on hardware resources and communication bandwidth availability.

## Advanced Reliability Features

Future system enhancement may include additional reliability and fault-tolerant operational features.

Potential future reliability enhancements may include:

- Redundant communication handling

- Advanced watchdog mechanisms

- Enhanced fault recovery handling

- Redundant data storage

- Automated recovery functionality

Future reliability improvements may support enhanced industrial operational stability.

# Conclusion

This section is usually short, professional, and high-level.

The purpose is to summarize:

- project objective

- system architecture

- development approach

- scalability

- expected outcome

This document defines the initial system requirements, software architecture, communication architecture, storage strategy, development approach, testing methodology, and future scalability considerations for the Primary Control Board project used in the Battery Pack Tester system.

The Primary Control Board is intended to operate as the central supervisory controller responsible for communication management, operational coordination, monitoring, fault handling, configuration management, and data handling across multiple subsystem interfaces.

The system architecture is designed using a modular and scalable approach to support reliable communication, maintainability, future feature expansion, and subsystem integration.

The project development strategy includes phased implementation, incremental integration, communication validation, and continuous testing to reduce technical and integration risks during development activities.

Future system expansion may support additional communication interfaces, advanced monitoring functionality, remote diagnostics capability, enhanced data logging features, and scalability for expanded subsystem integration.

This document serves as the initial technical reference for system development, implementation planning, integration activities, testing, and future maintenance support.

# References

| Reference | Description |
| --- | --- |
| CAN Protocol Specification | CAN communication reference |
| RS-485 Standard | Serial communication reference |
| Embedded Linux Documentation | Linux development reference |

# Appendix

This can later contain:

- CAN IDs

- packet structures

- register maps

- timing diagrams

- flowcharts

- GUI screenshots

- memory maps

This section may contain additional technical details, communication structures, timing diagrams, memory maps, and protocol definitions during future development phases.